DOPPLER

ABI

0.9- 1.3 – Normal

0.7-0.89- Mild

0.5-0.69- Moderate

0.3- 0.49- Severe

<0.3- Gangrene

>1.3- Calcified

TBI

>0.7- Normal

<0.7- Abnormal

ABI Calculation

ABI= Ankle pressure/ Brachial pressure        Ex: 140/120= 1.16

TBI Calculation

TBI= Toe pressure/ Brachial pressure           Ex: 110/120=0.91

Note:

If we enter dorsalis pedis pressure we have to take average pressure (ankle and dorsalis) and divide it by brachial pressure

ABI= (Ankle pressure+ dorsalis pressure/2) / Brachial pressure

Ex: (140+130/2) / 120= 1.12